Nanopore sequencing provides superior MGMT promoter methylation evaluation compared to conventional techniques

Skarphedinn Halldorsson  *1, Richard Nagymihaly1, Areeba Patel2, Petter Brandal3,

Ioannis Panagopoulos3, Henning Leske4, Felix Sahm 2, and Einar Vik-Mo†1

1Vilhelm Magnus Laboratory, Institute for Surgical Research, Oslo University Hospital

2Department of Neuropathology, University Hospital Heidelberg, Heidelberg, Germany

3Section for Cancer Cytogenetics, Institute for Cancer Genetics and Informatics, Oslo University Hospital

# Abstract

Rationale: Resistance of glioblastoma to the alkylating agent temozolomide may result from the expression of the DNA repair protein O6-methylguanine-DNA methyltransferase (MGMT). Methylation of the MGMT promoter region has been correlated with responsiveness to temozolomide, but there is no consensus on the most accurate method to determine methylation. Conventional methods have limitations such as the need for bisulphate treatment and amplification. Nanopore long-read sequencing offers methylation analysis of native DNA without the need for bisulphate treatment or amplification. Combined with recent advancements in targeting methods, it provides a modern, cost-effective approach to MGMT promoter methylation analysis.

Methods: In this study, we analyzed 148 CNS tumors using Nanopore sequencing and compared the results to data obtained using pyrosequencing or methylation bead arrays. We used Oxford Nanopore Technologies (ONT) MinION flow cells to run single or barcoded (multiplex) assays, following a CRISPR/Cas9 protocol, and included results from adaptive sequencing runs. We then compared the methylation data to results from standard diagnostic methods.

Results: We found a 92% correlation between pyrosequencing of 4 CpGs in the CpG island of MGMT and nanopore sequencing. We could re-create classification by the MGMT STP27 algorithm with data from nanopore sequencing. Furthermore, we were able to include in the analysis an additional 94 CpGs within the MGMT CpG island and 17 CpGs within the island shores. Data clustering revealed a robust difference between unmethylated and methylated samples that could be used for patient stratification.

Discussion: Our findings demonstrate that ONT is a capable method for replacing pyrosequencing, or methylation bead-array, providing high-confidence results within a few hours of sequencing. The extension of the analysis to all of the 98 CpGs of the CpG island of the MGMT promoter region results in a complete picture of the investigated MGMT region, which potentially enables further exploration of the correlation between methylation status and additional clinical parameters. However, for full replacement of standard diagnostic methods such as pyrosequencing analysis, further studies need to be performed using nanopore sequencing to refine the treatment relevant sites and cut-off levels for methylation.

Keywords: MGMT promoter methylation, Nanopore sequencing, CRISPR/Cas9, Glioblastoma

# Introduction

Glioblastoma multiforme (GBM) is the most common and most aggressive type of primary malignant brain tumor in adults [Ostrom et al., 2020] with a median survival of about 15 years [Stupp et al., 2017]. Standard treatment for GBM involves surgical resection of the tumor followed by a combination of radiation and chemotherapy. Temozolomide (TMZ) is a chemotherapy drug that has been shown to improve the outcome in a subset of GBM patients when used in combination with radiotherapy [Stupp et al., 2009]. TMZ is an alkylating agent that induces DNA damage by methylation of O-6 guanidine residues in dividing cells, leading to DNA damage and apoptosis [Zhang et al., 2011]. However, the effects of TMZ are countered by the DNA repair protein O-6 methylguanine DNA methyltransferase (MGMT). Despite its potential benefits, TMZ can cause a range of side effects and should therefore be limited to patients that may benefit from it and withheld from patients that most likely will only experience the side effects without any improvement in survival.

MGMT expression is regulated via methylation of the promoter region [Nakagawachi et al., 2003]. The presence of MGMT promoter methylation has been associated with increased survival in glioblastoma patients treated with temozolomide and radiation therapy [Hegi et al., 2019]. Methylation of the MGMT promoter is believed to silence its expression, thereby increasing sensitivity of GBM tumor cells to TMZ. MGMT promoter methylation status is therefore an important factor for the management and treatment of GBM [Christmann et al., 2011].

Despite its potential benefits, TMZ can cause a range of side effects and should therefore be limited to patients that may benefit from it and withheld from patients that most likely will only experience the side effects without any improvement in survival.

Pyrosequencing is a commonly used method to detect MGMT promoter methylation in clinical samples. The Qiagen® MGMT pyrosequencing kit, which detects methylation on 4 CpG sites (76-79) on the MGMT promoter CpG island, is a common choice in the clinical setting. However, there is neither a clear consensus on the best cut-off point to classify clinically relevant methylated or unmethylated samples [Brandner et al., 2021], nor which method should be used.

Standard diagnostic techniques include methylation-specific PCR (MSP), pyrosequencing (PSQ) or methylation bead array [Johannessen et al., 2018]. All of these methods rely on bisulfite conversion of native tumor DNA prior to analysis and only include a fraction of the 98 potentially relevant CpG sites in the CpG island of MGMT (Nakagawachi et al., Malley et al 2011).

In recent years, advances in sequencing technology have allowed for more sensitive and accurate detection of DNA methylation. Nanopore sequencing, which uses a nanopore-based sensor to detect changes in electrical current as nucleic acids (DNA or RNA) pass through the pore, has the ability to detect epigenetic modifications, such as methylation, directly from the signal [Jain et al., 2016]. Due to the long-read nature of nanopore sequencing, it also affords methylation analysis of far longer sequences than either MSP or pyrosequencing. Consequently, nanopore sequencing offers an overview of the methylation status of all CpGs of the MGMT CpG-island including the promoter region, using native genomic DNA without bisulfite conversion, which can be both time and cost efficient in a clinical setting [Laver et al., 2015].

In this study, we compared the results of nanopore sequencing of the promoter region of MGMT of 148 central nervous system (CNS) tumors, including 91 GBMs, with results obtained from standard diagnostic methods comprising pyrosequencing or Illumina 850K bead array.

# Materials and Methods

## Patients and samples

Samples from three independent cohorts were included into this study; 1) Retrospective analysis of DNA from 68 CNS tumor samples provided by the Institute for Cancer Genetics and Informatics, Oslo University Hospital, previously screened for MGMT promoter methylation using the Qiagen® MGMT pyrosequencing kit. 2) Retrospective analysis of 67 sequences generated as part of the Rapid-CNS adaptive sampling pipeline [Patel et al., 2022] that had previously been analysed by Illumina® methylation 850K bead array. 3) DNA extracted from 16 glioma biopsies that were operated at Oslo University Hospital. A separate biopsy was analysed with the Qiagen® MGMT pyrosequencing kit at the [Neuropathology SOMETHING]. Table 1 provides an overview of samples used in this study.

A total of 153 samples from 148 patients were analyzed for MGMT promoter methylation, consisting of 91 GBM samples, 23 IDH-glioma samples, and 12 meningioma samples (Figure 2a). Two methods were used to enrich for the region of interest: CRISPR/Cas9 targeted sequencing of the MGMT promoter region [Wongsurawat et al., 2020] and adaptive sampling. Cas9 targeted sequencing was applied to 86 samples, 46 of which were run as single samples and 40 that were run as multiplexed groups of 5. 67 samples were analyzed as part of an adaptive sampling pipeline.

## Sample preparation and Nanopore sequencing

Between 10 and 25 mg of fresh/frozen tissue were used to extract genomic DNA (Merck’s GenElute™ Mammalian Genomic DNA Miniprep kit) following the manufacturer’s protocol. Purity and concentration of DNA samples was determined using NanoDrop™ One and Qubit™ 4 Fluorometers (Thermo Fischer Scientific). Isolated DNA was stored at -20°C until analysis. Cas9 mediated targeted sequencing was performed with the Cas9 Sequencing Kit (Oxford Nanopore Technologies) according to the manufacturers protocol (version ENR_9084_v109_revR_04Dec2018). Briefly, Cas9 ribonucleoprotein complexes (RNPs) were created by mixing equimolar concentrations (100 µM) of crispr RNA (crRNA) and trans-activating elements (tracrRNA) to HiFi® Cas9 enzyme (IDT). Dephosphorylated gDNA (2-5 µg) was cleaved and dA-tailed with Cas9 RNPs and Taq polymerase. Finally, sequencing adaptors were ligated to the cleaved fragments and the final DNA library was purified with AMPure XP beads (Beckman Coulter). Barcodes were applied to a number of samples to allow multiplexing of five samples based on an experimental protocol from Oxford Nanopore Technologies. Purified DNA libraries were loaded onto R9.4.1. flow cells on MinION Mk1B or Mk1C devices and sequenced for 4-24 hours. Individual flow cells were flushed and re-used up to four times for single samples and twice for multiplexed samples. A minimum pore-count of 300 was deemed sufficient for a single sample, 800 for multiplexed samples. Raw fast5 sequences of all fragments mapping to the MGMT promoter in the Rapid-CNS data were provided for re-analysis.

## Primers

All primers were purchased from Integrated DNA Technologies, IDT (Leuven, Belgium). Previously published primers were initially used to target the MGMT promoter [Wongsurawat et al., 2020], termed  MGMT-left-1 (ATGAGGGGCCCACTAATTGA) and MGMT-right-1 (ACCTGAGTATAGCTCCGTAC), which yielded produced a fragment of 2,522 bp. In order to increase cas9 efficiency and expand the size of the fragment, we added additional crRNA primers: MGMT-left-2 (GCCAACCACGTTAGAGACAATGG), MGMT-right-2 (GTACGGAGCTATACTCAGGT), MGMT-right3 (CTGGAATCGCATTCCAGTAGTGG) and MGMT-right-4 (ACTTCGCAAGCATCACAGGTAGG) providing a fragment of 4,800 bp.

## Data analysis

Raw sequences were base-called, methylation called and mapped (hg19, chromosome 10) using the Megalodon toolbox (version 2.5.0 built on guppy version 6.2.7) from Oxford Nanopore Technologies (https://github.com/nanoporetech/megalodon). Methylation percentages of individual CpG sites were compiled using custom scripts in R. All statistical analyses were performed in R (version 4.2.1). The source code and data to reproduce all analyses and figures from this manuscript is available at https://github.com/SkabbiVML/MGMT_R.

# Results

Data Acquisition

Sequence depth of the MGMT promoter region in the samples varied based on method, sequencing time, DNA and flow-cell quality. Single sample runs produced on average more sequences (mean = 92.1, median = 33) than barcoded runs (mean = 17.2, median = 12) and adaptive sampling (mean = 18.7, median = 15) (Figure 2b). No bias in sequencing depth was observed between methylated and unmethylated samples across Cas9 targeted samples, either single or multiplexed. However, a slight but statistically significant difference in sequence depth was observed between methylated (mean = 23.6) and unmethylated (mean = 16.5) samples created by adaptive sampling (p=0.021).

## Nanopore Sequencing versus Pyrosequencing

A subset of samples (n=68) was initially analyzed using the Qiagen® MGMT pyrosequencing kit (MGMT pyro kit), which investigates the CpGs 76-79 of the CpG island of MGMT, before undergoing nanopore sequencing. This allowed a direct comparison of the results of the MGMT pyro kit with those of the nanopore sequencing covering the same CpG sites (Figure 3). The correlation between the methylation values of each overlapping CpG site between nanopore and pyrosequencing ranged from 0.78 to 0.88 (Figure 3a). However, the correlation increased to 0.92 when methylation values were averaged across the four CpG sites (Figure 3b).

At Oslo University Hospital an average methylation of 10% and above using the Qiagen® MGMT pyrosequencing kit is considered to be methylated. A 10% average methylation threshold of CpGs 76-79 was applied to the nanopore data to classify MGMT methylated versus unmethylated samples. When comparing the results obtained from nanopore sequencing and pyrosequencing (Figure 3c, left), we found a 91% concordance rate between the two methods (62 out of 68 samples) (Figure 3d, upper). Notably, discordant results between nanopore sequencing and the MGMT pyro kit were in all cases classified as methylated by nanopore sequencing but unmethylated by pyrosequencing.

When the same 10% methylation threshold of CpGs 76-79 was applied to samples from the adaptive sequencing panel that were previously classified by Illumina® methylation 850K bead array, the concordance between classification methods dropped to 86% (Figure 3c, right). Discordant cases between nanopore sequencing and bead array were both false positives and false negatives (Figure 3d, lower).

Illumina® Human Methylation BeadChips (HM-27K, HM-450K, and HM-850K) are microarraybased platforms used to investigate DNA methylation patterns in human tumor samples. Despite detecting the methylation status of tens to hundreds of thousands of CpG sites, these platforms only cover a fraction of the approximately 30 million CpG sites in the human genome. To predict the clinically relevant methylation status of the MGMT promoter, a regression model called MGMT STP-27 has been developed. This model uses the methylation status of two CpG sites, cg12434587 and cg12981137, as reported by [Bady et al., 2012, Bady et al., 2016].

In the Rapid-CNS study, samples were analyzed by methylation bead array before nanopore sequencing, where the ground truth for MGMT promoter methylation status was inferred from EPIC array results. Methylation values for the two CpG sites represented in the MGMT-STP27 algorithm were extracted from the nanopore data and plotted against each other (Figure 4a). A clear separation between methylated and unmethylated samples based on the methylation percentages of cg12434587 and cg12981137 (Figure 4a, right) was een when using the training samples from the Rapid-CNS cohort showed. However, the samples from the Radium cohort, which were classified as methylated or unmethylated by pyrosequencing, did not show as clear a distinction of these methylation classes when using the STP27 logistic regression model (Figure 4a, left).

We therefore followed the approach by Siller et. al, who proposed a method for GBM patient stratification by counting the methylation of the 25 CpG sites of the second differentially methylated region (DMR2) in the CpG island of MGMT using Sanger bisulfite sequencing [Siller et al., 2021]. The results of nanopore sequencing were binarized by applying a methylation cut-off of 10% to each CpG site (≥ 10% methylation = methylated, < 10% methylation = unmethylated) and summarizing the counts in DMR2. Figure 4b shows a nearly complete separation of methylated and unmethylated samples at ≥ 15 methylated CpG sites.

## Unsupervised clustering of samples based on nanopore sequencing

Although classification by bisulfite sequencing methods can be recreated to a reasonable degree with nanopore sequencing data, this does not take advantage of other CpG sites within the designated MGMT promoter CpG island or its shelves that may prove to be relevant for MGMT gene expression. To investigate the impact of methylation at CpG sites not covered by previous methods, we performed hierarchical clustering of 98 CpG sites on the CpG island of MGMT and included 7 CpGs upstream and 11 CpGs downstream. Unsupervised hierarchical clustering using Ward’s method revealed two main clusters that largely correspond to the classification into methylated and unmethylated samples by pyrosequencing or methylation bead array (Figure 5).

Unmethylated samples exhibit low methylation levels throughout the CpG island, except for the first 5 CpG sites, which were mostly methylated. In contrast, methylated samples show a larger gradient of methylation, with higher levels towards either end of the CpG island. This is further supported by the average methylation percentage of each CpG site in methylated and unmethylated samples (Figure 6), which reveals the biggest differences in methylation occur in CpGs 6 through 15 and 71 through 90.

While five samples previously classified as methylated cluster with the otherwise unmethylated samples, one unmethylated sample clusters with methylated samples. This pattern of separation is also evident when unsupervised clustering is performed on GBM samples only (Figure 7). In addition to the robust separation of samples into clusters that largely correspond to the predetermined methylation status, k-means clustering showed separation of samples in the methylated cluster (Figure 8). Of the 22 samples that cluster with methylated samples, 9 samples fall within what can be described as ”very high methylation” cluster. The functional significance of these clusters remains to be determined.

## Survival Analysis

Since methylation status of the MGMT promoter is known to be a predictive factor for overall and progression-free survival of GBM patients receiving temozolomide [Dovek et al., 2019], we investigated whether clustering by nanopore sequencing was as effective as the MGMT-pyro kit or EPIC-array for survival prediction. We conducted cas9-targeted nanopore sequencing on 16 additional samples that were simultaneously analyzed by pyrosequencing. In total, we performed survival analysis on 25 primary IDH-wildtype GBM patients (11 females, mean age 58.4 years and 14 males, mean age 62.7 years) where biopsies were classified by both MGMT-pyro kit and cas9-targeted nanopore sequencing (Table 3).

As expected, Kaplan-Meier survival analysis of patients based on pyrosequencing showed a significantly longer overall survival in patients classified as ”Methylated” (Figure 9a, p=0.0078). Notably, when patients were classified according to unsupervised clustering by nanopore sequencing (Figure 9b), significantly longer survival was observed in ”cluster 2” patients (p=0.039

# Discussion

To the best of our knowledge, this is the first study to examine all 98 sites within the MGMT CpG island, along with it’s shores in multiple patient biopsies using nanopore sequencing.

Our results suggest that nanopore sequencing of the MGMT promoter region, even at low sequencing depth, can recreate the results of pyrosequencing, bisulfite Sanger sequencing and Illumina 850K bead array. However, the accuracy of classification depends on the method and cut-offs used to generate the ground truth. Unsupervised clustering of samples based on methylation of all 98 CpG sites in the MGMT promoter indicates the presence of subgroups within both methylated and unmethylated samples of unknown clinical significance. Although the sample size is small, our results suggest that classifying patients via nanopore sequencing is equally reliable as classification with the MGMT-pyro kit.

Here comes most of the text that was discussion like written from the introduction and results part.

The results need to be critically discussed.

Again, what is the advantage of using nanopore sequencing compared to the currently used methods (native DNA, easy to use, full picture of methylome of MGMT, )

Are there disadvantages in the use of nanopore sequencing (DNA quality issue? Possible on FFPE material? What about the costs. Are the results robust (those 5 extra samples (153 samples from 148 tumors) did they show similar results?))

Do you already have some information on the outcome of those GBM patients of tumours from OUS?

Even though this is very interesting, one needs to be cautious to not put this in the spotlight, as the paper is not focused on GBM and outcome, as there is a mixture of several entities here. The key message of this paper is to show that the method is comparable to other methods in terms of the results, and gains the advantage that it reveals additional information and uses native DNA and thus circumventing additional pre-analytic steps that might be error prone.

). Although the sample size is small, our results suggest that classifying patients via nanopore sequencing is equally reliable as classification with the MGMT-pyro kit.

We can conclude that nanopore sequencing of the MGMT promoter region performs as well or better than standard methods such as pyrosequencing. This is true for both cas9 targeted sequencing of the MGMT promoter and inclusion of the MGMT promoter into an adaptive sequencing panel. Distinct subgroups within both methylated and unmethylated samples are captured via nanopore sequencing, it will be very interesting to see if there is a difference in patient outcome between these clusters.

# Tables

Table 1: Summary of samples included in this study.

|  | DenStem | Radium | Rapid-CNS | Total |
| --- | --- | --- | --- | --- |
| Astrocytoma | 3 | 1 | 3 | 7 |
| Astrocytoma_HG | 0 | 4 | 4 | 8 |
| ATRT_SHH | 0 | 0 | 1 | 1 |
| CNS_Neuroblastoma | 0 | 1 | 0 | 1 |
| Ependymoma | 0 | 1 | 0 | 1 |
| Ganglioglioma | 0 | 1 | 0 | 1 |
| Glioblastoma | 13 | 29 | 49 | 91 |
| HPC | 0 | 1 | 0 | 1 |
| LGG_PA | 0 | 0 | 4 | 4 |
| Medulloblastoma | 0 | 2 | 0 | 2 |
| Meningioma | 0 | 12 | 0 | 12 |
| Metastasis | 0 | 7 | 0 | 7 |
| Oligodendroglioma | 0 | 2 | 6 | 8 |
| PCNSL | 0 | 2 | 0 | 2 |
| PXA | 0 | 2 | 0 | 2 |
| Total | 16 | 65 | 67 | 148 |

11

Table 2: Summary of reported optimal cut-offs for determining methylated versus unmethylated samples

| Author Year Method Patients CpGs Optimal cut-off Comment Reference |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hegi | 2019 | qMSP | 4041 |  | >1.27 | ”Grey-zone” patients benefit from TMZ | [Hegi et al., 2019] |
| Johannessen | 2018 | qMSP, PSQ | 48 |  | 7 % | PSQ gives better results than other methods | [Johannessen et al., 2018] |
| Nguyen | 2021 | PSQ | 109 |  | 21 % | Higher methylation corrilates with longer OS | [Nguyen et al., 2021] |
| Quillien | 2012 | MSP, PSQ, MS-HRM | 100 | 5 | 8 % | PSQ performs best | [Quillien et al., 2012] |
| Xie | 2015 | PSQ | 43 |  | 10 % | Not testing cut-off | [Xie et al., 2015] |
| Yuan | 2017 | PSQ | 84 | 4 | 12.50 % | Higher methylation corrilates with longer OS | [Yuan et al., 2017] |
| Brigliadori | 2016 | PSQ | 105 | 10 | 30 % | ”Grey-zone” patients do not benefit from TMZ | [Brigliadori et al., 2016] |
| Radke | 2019 | PSQ, sqMSP | 111 |  | 10 % | Best results when PSQ and MSP were combined | [Radke et al., 2019] |
| Chai | 2021 | PSQ | 173 | 4 | 10 % | MGMT promoter methylation has predictive value in IDH-mutant glioblastoma | [Choi et al., 2021] |
| Dovek | 2019 | qMSP | 165 |  | >1 | ”Grey-zone” patients benefit from TMZ, higher methylation does not correlate with longer OS | [Dovek et al., 2019] |
| Siller | 2021 | MSP, Sseq | 215 | 25 |  | Linear correlation between number of methylated CpG sites and OS | [Siller et al., 2021] |

Table 3: Patients used in survival analysis

Sample ID	Age	Sex	Diagnosis	IDH	Resection	Treatment	OS (months)	Status	Pyro_state	NP cluster

1701-2275	66	F	GBM	Neg	GTR	Stupp	14.99	Dead	UnMethylated	1

1701-2430	78	M	GBM	Neg	GTR	Stupp	5.19	Dead	Methylated	2

1701-2590	58	M	GBM	Neg	STR	Stupp	24.5	Dead	Methylated	2

1701-2623	57	F	GBM	Neg	STR	Stupp	28.77	Dead	Methylated	2

1701-2769	73	M	GBM	Neg	STR	Stupp	20.91	Dead	UnMethylated	1

1701-2950	77	M	GBM	Neg	STR	Stupp	11.97	Dead	UnMethylated	1

1501-1486	60	M	GBM	Neg	GTR	Stupp	29.26	Dead	Methylated	2

1501-1757 65 M GBM Neg STR Stupp 29.69 Dead Methylated 2 1501-1858 62 F GBM Neg STR Stupp 6.9 Dead UnMethylated 1

1501-1880	64	M	GBM	Neg	STR	Stupp	25.48	Dead	Methylated	2

12

1501-2159	58	M	GBM	Neg	STR	Stupp	21.6	Dead	Methylated	2

1501-2348	58	M	GBM	Neg	STR	Stupp	11.44	Dead	UnMethylated	1

1501-2391	72	F	GBM	Neg	STR	Stupp	21.21	Dead	Methylated	2

1501-2425	58	F	GBM	Neg	STR	Stupp	13.61	Dead	Methylated	2

1601-0227	66	M	GBM	Neg	STR	Stupp	21.96	Dead	Methylated	2

1601-0353	51	M	GBM	Neg	GTR	Stupp	12.85	Dead	Methylated	2

T20-061	64	F	GBM	Neg	STR	Stupp	8.3	Dead	Methylated	1

T20-192	52	F	GBM	Neg	STR	Stupp	23	Dead	Methylated	2

T21-173	66	F	GBM	Neg	STR	Stupp	13.6	Dead	Methylated	2

T21-214	49	M	GBM	Neg	GTR	Stupp	9.4	Dead	UnMethylated	1

T21-216	46	F	GBM	Neg	GTR	Stupp	14.31	Alive	Methylated	2

T21-224	60	F	GBM	Neg	GTR	Stupp	14.08	Alive	Methylated	1

T21-240	55	M	GBM	Neg	GTR	Stupp	15.16	Alive	UnMethylated	2

T21-242	66	M	GBM	Neg	GTR	Stupp	14.47	Alive	Methylated	2

T21-326	39	F	GBM	Neg	GTR	Stupp	13.78	Alive	Methylated	1

# Figures

Figure 1: Organization of the MGMT promoter. MSP refers to the typical primer sites of methylation specific PCR to determine MGMT promoter methylation. Asterixes represent the 4 CpGs analysed by the Qiagen® MGMT pyrosequencing kit.

20

3

1

11

4

3

57

4

18

Other

Meningioma

IDH−glioma

Glioblastoma

0

25

50

75

Samples

Known Status

Methylated

UnMethylated

(a)

(b)

Figure 2: Overview of samples and sequence depth. (a) Classification of all samples used in this study, separated by known methylation status (b) Methylated versus unmethylated samples by method of acquisition (Adaptive sampling, multiplexed nCats, single sample nCats). No bias in sequence depth was observed between methylated and unmethylated samples but single sample runs generally have higher sequence depth than barcoded samples or adaptive sampling.

(a)

Methylated	UnMethylated	Methylated	UnMethylated

32

0

6

3

0

4

2

5

4

16

Radium

Rapid−CNS

| Known methylation status (c) | UnMethylated Methylated Known_status |
| --- | --- |

(d)

Figure 3: Comparison of nanopore sequencing and Qiagen® Pyrosequencing kit of CpGs 76-79 in exon 1 of the MGMT promoter. Results show per-site methylation percentage of each CpG (a) or average values of the 4 CpG sites analyzed by the Qiagen® MGMT Pyro kit (b). Here, black horizontal and vertical lines mark the 10 % cut-off value between methylated and unmethylated samples, as determined by pyrosequencing. Comparison of pyrosequencing classification into methylated (red) versus unmethylated (blue) based on a 10% average methylation threshold of CpGs 76-79 in the MGMT promoter (c). The Y-axis represents average methylation percentage of the same four CpG sites based on nanopore sequencing. There needs to be a description regarding (d)

(a)

5

(b)

Figure 4: Something about classifying tumor by an algorithm that only uses 2 CpGs (a). Something about how the different datasets classify differently (b). Something about classifying and sub-classifying tumors according to the methylation of the last 25 CpGs in the MGMT promoter region, as was proposed by Siller et al. [Siller et al., 2021] (c). The Y-axis represents aggregated methylation and CpGs 74 to 98 by Nanopore sequencing.

Figure 5: Clustered heatmap of all samples based on nanopore sequencing of CpG island of the MGMT promoter and adjacent CpG sites (7 upstream and 10 downstream). Extensive description on the finding of the figure Mainly 2 clusters methylated unmethylated. CpG6-31 and 71-98 etc. n = 128

Figure 6: Dotplot showing average methylation percentage of CpG sites in and around the MGMT promoter. Grey areas show 95% confidence intervals of regression lines. n = 128

Feature

Figure 7: Heatmap showing unsupervised clustering of glioblastoma samples based on nanopore sequencing of the CpG island in the MGMT promoter. n = 78

STP27

Feature Exon1

Figure 8: K-means clustering of glioblastoma samples.

+

+

+

+

+

78

p = 0.00

0.00

0.25

0.50

0.75

1.00

0

10

20

30

OS, Months

Survival probability

Pyrosequencing

+

+

Methylated

UnMethylated

Pyrosequencing

18

1

6

9

9

4

0

7

5

2

1

0

0

10

Number at risk

Methylated

UnMethylated

5	15	20	25	30

OS, Months (a) Pyro classification

+

+

+

+

+

p = 0.0039

0.00

0.25

0.50

0.75

1.00

0

10

20

30

OS, Months

Survival probability

Nanopore

+

+

Cluster 1

Cluster 2

Nanopore

9

6

1

1

0

0

16

15

10

9

4

0

10

15

Number at risk

Cluster1

Cluster2

5	20	25	30

OS, Months

(b) Nano Classification

Figure 9: Patient survival based on Pyrosequencing classification (a) or Nanopore Sequencing classification (b) Kaplan Meier curves. These allow Mann Whitney test (is it the p value you were mentioning?

e

G., Tran, D. D., Brem, S., Hottinger, A. F., Kirson, E. D., Lavy-Shahaf, G., Weinberg, U., Kim,

- Y., Paek, S. H., Nicholas, G., Burna, J., Hirte, H., Weller, M., Palti, Y., Hegi, M. E., and Ram,Z. (2017). Effect of tumor-treating fields plus maintenance temozolomide vs maintenance temozolomide alone on survival in patients with glioblastoma a randomized clinical trial. JAMA - Journal of the American Medical Association, 318(23).

[Wongsurawat et al., 2020] Wongsurawat, T., Jenjaroenpun, P., De Loose, A., Alkam, D., Ussery,

- W., Nookaew, I., Leung, Y. K., Ho, S. M., Day, J. D., and Rodriguez, A. (2020).	A novel Cas9-targeted long-read assay for simultaneous detection of IDH1/2 mutations and clinically relevant MGMT methylation in fresh biopsies of diffuse glioma. Acta Neuropathologica Communications, 8(1):1–13.

[Xie et al., 2015] Xie, H., Tubbs, R., and Yang, B. (2015). Detection of MGMT promoter methylation in glioblastoma using pyrosequencing. International Journal of Clinical and Experimental Pathology, 8(2).

[Yuan et al., 2017] Yuan, G., Niu, L., Zhang, Y., Wang, X., Ma, K., Yin, H., Dai, J., Zhou, W., and Pan, Y. (2017). Defining optimal cutoff value of MGMT promoter methylation by ROC analysis for clinical setting in glioblastoma patients. Journal of Neuro-Oncology, 133(1).

[Zhang et al., 2011] Zhang, J., F.G. Stevens, M., and D. Bradshaw, T. (2011).	Temozolomide:

Mechanisms of Action, Repair and Resistance. Current Molecular Pharmacology, 5(1).